## Table of Contents
Name | Type | Dim | Count | Explanatory text
Avail_Water | variable | 0 | 1 | Total Water available in the system during the month (June)
case | set | 1 | 12 | Defining constrainted cases for number of low flow steady days
Convert | parameter | 0 | 1 | conversion factor from cfs to ac-ft per hour (0.0014*60)
d | set | 1 | 30 | days in June
Daily_Ramprate | parameter | 0 | 1 | Allowable daily ramp rate (cfs)
Duration | parameter | 1 | 2 | Duration of period (hours)
EnergyRate | parameter | 1 | 2 | Energy revenue on weekdays ($ per MWH)
Energy_Gen | variable | 1 | 2 | Hydropower Generated for each timestep during unsteady flow days (MWH)
EQ10_EnergyGen | equation | 1 | 2 | Energy generated in each time step during unsteady flow days (MWH)
EQ11_EnergyGen_Max | equation | 1 | 2 | Maximum Energy Generation Limit of the Glen Caynon Dam(MW)
EQ12_EnergyRevenue | equation | 0 | 1 | Total monthly Hydropower Revenue generated when number of steady low flow day are greater than number of weekend days($)
EQ13_Revenue | equation | 0 | 1 | Total monthly Hydropower Renvenue generated if number of steady flow days are equal or less than weekend days ($)
EQ1__ResMassBal | equation | 0 | 1 | Reservoir mass balance (acre-ft)
EQ2__reqpowerstorage | equation | 0 | 1 | The minimum storage equivalent to reservoir level required for hydropower generation (acre-ft)
EQ3__maxstor | equation | 0 | 1 | res storage max (acre-ft)
EQ4__MaxR | equation | 1 | 2 | Max Release (cfs)
EQ5__MinR | equation | 1 | 2 | Min Release (cfs)
EQ6_Rampup_rate | equation | 1 | 2 | Constraining the daily ramp up rate between the timesteps(cfs)with in same day
EQ7__Monthtlyrel | equation | 0 | 1 | Constraining Total monthly volume of water released in "June" as per WAPA information(acre-ft)
EQ8_Steadyflow | equation | 0 | 1 | Minimun release value within the hydrograph(cfs)
EQ9_SteadyEnergy | equation | 1 | 2 | Energy generated in each time step during steady flow days (MWH)
EQa_Inflow | equation | 0 | 1 | Total volume of Water available in the system during the month (acre-ft)
EQb_SteadyOutflow | equation | 0 | 1 | Volume of Water released during the steady days (acre-ft)
EQc_UnSteadyOutflow | equation | 0 | 1 | Volume of Water released during the unsteady days (acre-ft)
evap | parameter | 0 | 1 | evaporation (ac-ft per day Considered constant throughout the month
FStore | parameter | 2 | 60 | Storing objective function values over different scenarios
Inflow | parameter | 1 | 30 | Inflow to reservoir (cfs)
initstorage | parameter | 0 | 1 | Initial reservoir storage 1st June 2018 (acre-ft)
Mar_Ramp | parameter | 3 | 120 | To save margninal values associted with the ramp rate.
maxRel | parameter | 0 | 1 | Maximum release in a day d at any timeperiod p(cfs)
maxstorage | parameter | 0 | 1 | Reservoir capacity (acre-ft)
minRel | parameter | 0 | 1 | Minimum release in a day d at any timeperiod p(cfs)
minstorage | parameter | 0 | 1 | Minimum reservoir storage to maintain hydropower level(acre-ft)
ModelResults | parameter | 3 | 120 | Model Results for the scenarios
modpar | set | 1 | 2 | Saving model parameter for each of the solutions for each of the scenario
Num_of_timesteps | parameter | 0 | 1 | Total Number of timesteps used
Num_steady | parameter | 1 | 11 | Number of steady low flow days
ObjectiveVal | variable | 0 | 1 | Objective functions calculation
p | set | 1 | 2 | time period during a day
release | variable | 1 | 0 | reservoir release on any unsteady day in any period p (cfs)
RStore_steady | parameter | 3 | 120 | Store Release values during steady flow days over different cases(cfs)
RStore_unsteady | parameter | 3 | 120 | Store Release values during unsteady flow days over different cases(cfs)
Sstore | parameter | 2 | 60 | Store Storage Values over different cases(ac-ft)
SteadyEn_Gen | variable | 1 | 2 | Hydropower Generated for each timestep during steady flow days (MWH)
Steady_Days | parameter | 0 | 1 | To represent the number of steady low flow days
steady_Outflow | variable | 0 | 1 | Volume of water released in the steady low flow days (acre-ft)
Steady_Release | variable | 0 | 1 | Minimum release value of the hydrograph
storage | variable | 0 | 1 | reservoir storage at the end of the month (acre-ft)
Totaldays | parameter | 0 | 1 | Total number of days in the month
TotMonth_volume | parameter | 0 | 1 | To represent total monthly volume (acre-ft)
tot_vol | set | 1 | 5 | Total montly release volume (acre-ft)
unsteady_Outflow | variable | 0 | 1 | Volume of water released in the unsteay low flow days (acre-ft)
Vol_monthlyrelease | parameter | 1 | 5 | Different Total volumes of water to be released in the month i.e. June2018 in presented case (acre-ft)
weekdays | parameter | 0 | 1 | Number of days in month
weekendRate | parameter | 1 | 2 | Energy revenue on weekends ($ per MWH)
weekends | parameter | 0 | 1 | Number of weekend days in the month
XStore_steady | parameter | 2 | 55 | Store Energy Generated during steady flow days over different cases (MWH)
XStore_unsteady | parameter | 2 | 55 | Store Energy Generated during unsteady flow days over different cases (MWH)

## Scalar
TOC
Parameter | Value | Explanatory text
Convert | 0.083 | conversion factor from cfs to ac-ft per hour (0.0014*60)
Daily_Ramprate | 8000 | Allowable daily ramp rate (cfs)
evap | 1510 | evaporation (ac-ft per day Considered constant throughout the month
initstorage | 12899134 | Initial reservoir storage 1st June 2018 (acre-ft)
maxRel | 32000 | Maximum release in a day d at any timeperiod p(cfs)
maxstorage | 25000000 | Reservoir capacity (acre-ft)
minRel | 8000 | Minimum release in a day d at any timeperiod p(cfs)
minstorage | 8950000 | Minimum reservoir storage to maintain hydropower level(acre-ft)
Num_of_timesteps | 60 | Total Number of timesteps used
Steady_Days | 30 | To represent the number of steady low flow days
Totaldays | 30 | Total number of days in the month
TotMonth_volume | 1100000 | To represent total monthly volume (acre-ft)
weekdays | 22 | Number of days in month
weekends | 8 | Number of weekend days in the month
Variable | Lowerbound | Value | Upperbound | Marginal | Explanatory text
Avail_Water | -INF | 13536878.776 | INF | 0 | Total Water available in the system during the month (June)
ObjectiveVal | -INF | 0 | INF | 0 | Objective functions calculation
steady_Outflow | -INF | 1100000 | INF | 0 | Volume of water released in the steady low flow days (acre-ft)
Steady_Release | -INF | 0 | INF | 0 | Minimum release value of the hydrograph
storage | -INF | 12391578.776 | INF | 0 | reservoir storage at the end of the month (acre-ft)
unsteady_Outflow | -INF | 0 | INF | 0 | Volume of water released in the unsteay low flow days (acre-ft)
Equation | Lowerbound | Value | Upperbound | Marginal | Explanatory text
EQ12_EnergyRevenue | 0 | 0 | 0 | 1 | Total monthly Hydropower Revenue generated when number of steady low flow day are greater than number of weekend days($)
EQ13_Revenue | 0 | 0 | 0 | 1 | Total monthly Hydropower Renvenue generated if number of steady flow days are equal or less than weekend days ($)
EQ1__ResMassBal | -45300 | -45300 | -45300 | EPS | Reservoir mass balance (acre-ft)
EQ2__reqpowerstorage | 8950000 | 12391578.776 | INF | 0 | The minimum storage equivalent to reservoir level required for hydropower generation (acre-ft)
EQ3__maxstor | -INF | 12391578.776 | 25000000 | 0 | res storage max (acre-ft)
EQ7__Monthtlyrel | -1100000 | -1100000 | -1100000 | -22.5241 | Constraining Total monthly volume of water released in "June" as per WAPA information(acre-ft)
EQ8_Steadyflow | 0 | 0 | 0 | EPS | Minimun release value within the hydrograph(cfs)
EQa_Inflow | 13536878.776 | 13536878.776 | 13536878.776 | EPS | Total volume of Water available in the system during the month (acre-ft)
EQb_SteadyOutflow | 0 | 0 | 0 | -22.5241 | Volume of Water released during the steady days (acre-ft)
EQc_UnSteadyOutflow | 0 | 0 | 0 | -22.5241 | Volume of Water released during the unsteady days (acre-ft)

## case
TOC
case | (set) | Defining constrainted cases for number of low flow steady days
dim1
case1
case2
case3
case4
case5
case6
case7
case8
case9
case10
case11
case12

## d
TOC
d | (set) | days in June
d
d1
d2
d3
d4
d5
d6
d7
d8
d9
d10
d11
d12
d13
d14
d15
d16
d17
d18
d19
d20
d21
d22
d23
d24
d25
d26
d27
d28
d29
d30

## Duration
TOC
Duration | (parameter) | Duration of period (hours)
p | Value
pLow | 8
pHigh | 16

## EnergyRate
TOC
EnergyRate | (parameter) | Energy revenue on weekdays ($ per MWH)
p | Value
pLow | 37.7
pHigh | 63.52

## Energy_Gen
TOC
Energy_Gen | (variable) | Hydropower Generated for each timestep during unsteady flow days (MWH)
p | Lowerbound | Value | Upperbound | Marginal
pLow | -INF | 5470.5489 | INF | 0
pHigh | -INF | 4755.2 | INF | 0

## EQ10_EnergyGen
TOC
EQ10_EnergyGen | (equation) | Energy generated in each time step during unsteady flow days (MWH)
p | Lowerbound | Value | Upperbound | Marginal
pLow | 0 | 0 | 0 | EPS
pHigh | 0 | 0 | 0 | EPS

## EQ11_EnergyGen_Max
TOC
EQ11_EnergyGen_Max | (equation) | Maximum Energy Generation Limit of the Glen Caynon Dam(MW)
p | Lowerbound | Value | Upperbound | Marginal
pLow | -INF | 5470.5489 | 10560 | 0
pHigh | -INF | 4755.2 | 21120 | 0

## EQ4__MaxR
TOC
EQ4__MaxR | (equation) | Max Release (cfs)
p | Lowerbound | Value | Upperbound | Marginal
pLow | -INF | 18406.9612 | 32000 | 0
pHigh | -INF | 8000 | 32000 | 0

## EQ5__MinR
TOC
EQ5__MinR | (equation) | Min Release (cfs)
p | Lowerbound | Value | Upperbound | Marginal
pLow | 8000 | 18406.9612 | INF | 0
pHigh | 8000 | 8000 | INF | EPS

## EQ6_Rampup_rate
TOC
EQ6_Rampup_rate | (equation) | Constraining the daily ramp up rate between the timesteps(cfs)with in same day
p | Lowerbound | Value | Upperbound | Marginal
pLow | -INF | -10406.9612 | 8000 | 0
pHigh | -INF | -10406.9612 | 8000 | 0

## EQ9_SteadyEnergy
TOC
EQ9_SteadyEnergy | (equation) | Energy generated in each time step during steady flow days (MWH)
p | Lowerbound | Value | Upperbound | Marginal
pLow | 0 | 0 | 0 | 1131
pHigh | 0 | 0 | 0 | 1699.04

## FStore
TOC
FStore | (parameter) | Storing objective function values over different scenarios |  |  | 0.7 MAF | 0.8 MAF | 0.9 MAF | 1.0 MAF | 1.1 MAF
tot_vol | case | Value | Case | Days | V1 | V2 | V3 | V4 | V5
V1 | case1 | 16393819.7426 | case1 | 0 | 16.3938 | 18.9197 | 21.1721 | 23.4245 | 25.6769
V1 | case2 | 16683168.4035 | case2 | 4 | 16.6832 | 19.1598 | 21.4122 | 23.6646 | 25.917
V1 | case3 | 16864011.3166 | case3 | 6 | 16.864 | 19.2798 | 21.5323 | 23.7847 | 26.0371
V1 | case4 | 16966226.8762 | case4 | 7 | 16.9662 | 19.3399 | 21.5923 | 23.8447 | 26.0971
V1 | case5 | 17077734.7593 | case5 | 8 | 17.0777 | 19.3999 | 21.6523 | 23.9047 | 26.1571
V1 | case6 | 17077734.7593 | case6 | 9 | 17.0777 | 19.3371 | 21.5896 | 23.842 | 26.0944
V1 | case7 | 17021974.5648 | case7 | 10 | 17.022 | 19.2744 | 21.5268 | 23.7792 | 26.0316
V1 | case8 | 16896466.8727 | case8 | 12 | 16.8965 | 19.1489 | 21.4013 | 23.6537 | 25.9061
V1 | case9 | 16708205.3346 | case9 | 15 | 16.7082 | 18.9606 | 21.213 | 23.4654 | 25.7179
V1 | case10 | 16394436.1044 | case10 | 20 | 16.3944 | 18.6469 | 20.8993 | 23.1517 | 25.4041
V1 | case11 | 16080666.8741 | case11 | 25 | 16.0807 | 18.3331 | 20.5855 | 22.8379 | 25.0903
V1 | case12 | 15766897.6439 | case12 | 30 | 15.7669 | 18.0193 | 20.2717 | 22.5241 | 24.7766
V2 | case1 | 18919692.8624
V2 | case2 | 19159794.5342
V2 | case3 | 19279845.3701
V2 | case4 | 19339870.7881
V2 | case5 | 19399896.206
V2 | case6 | 19337142.36
V2 | case7 | 19274388.5139
V2 | case8 | 19148880.8218
V2 | case9 | 18960619.2837
V2 | case10 | 18646850.0535
V2 | case11 | 18333080.8233
V2 | case12 | 18019311.593
V3 | case1 | 21172106.8115
V3 | case2 | 21412208.4833
V3 | case3 | 21532259.3192
V3 | case4 | 21592284.7372
V3 | case5 | 21652310.1551
V3 | case6 | 21589556.3091
V3 | case7 | 21526802.4631
V3 | case8 | 21401294.771
V3 | case9 | 21213033.2328
V3 | case10 | 20899264.0026
V3 | case11 | 20585494.7724
V3 | case12 | 20271725.5422
V4 | case1 | 23424520.7606
V4 | case2 | 23664622.4325
V4 | case3 | 23784673.2684
V4 | case4 | 23844698.6863
V4 | case5 | 23904724.1043
V4 | case6 | 23841970.2582
V4 | case7 | 23779216.4122
V4 | case8 | 23653708.7201
V4 | case9 | 23465447.182
V4 | case10 | 23151677.9517
V4 | case11 | 22837908.7215
V4 | case12 | 22524139.4913
V5 | case1 | 25676934.7098
V5 | case2 | 25917036.3816
V5 | case3 | 26037087.2175
V5 | case4 | 26097112.6355
V5 | case5 | 26157138.0534
V5 | case6 | 26094384.2074
V5 | case7 | 26031630.3613
V5 | case8 | 25906122.6692
V5 | case9 | 25717861.1311
V5 | case10 | 25404091.9009
V5 | case11 | 25090322.6707
V5 | case12 | 24776553.4404
= 0.7 MAF
= 0.8 MAF
= Ideal Point
= 0.9 MAF
= 1.0 MAF
= 1.1 MAF

## Inflow
TOC
Inflow | (parameter) | Inflow to reservoir (cfs)
d | Value
d1 | 22004
d2 | 16148
d3 | 19019
d4 | 18165
d5 | 19528
d6 | 16868
d7 | 14871
d8 | 16358
d9 | 12903
d10 | 14532
d11 | 12022
d12 | 11106
d13 | 8638
d14 | 13191
d15 | 6440
d16 | 8314
d17 | 6074
d18 | 7014
d19 | 9947
d20 | 6905
d21 | 5919
d22 | 9277
d23 | 7507
d24 | 7506
d25 | 4381
d26 | 5891
d27 | 5926
d28 | 4186
d29 | 3710
d30 | 5803

## Mar_Ramp
TOC
Mar_Ramp | (parameter) | To save margninal values associted with the ramp rate.
tot_vol | case | p | Value
V1 | case1 | pLow | EPS
V1 | case1 | pHigh | EPS
V1 | case2 | pLow | EPS
V1 | case2 | pHigh | EPS
V1 | case3 | pLow | EPS
V1 | case3 | pHigh | EPS
V1 | case4 | pLow | EPS
V1 | case4 | pHigh | EPS
V1 | case5 | pLow | EPS
V1 | case5 | pHigh | EPS
V1 | case6 | pLow | EPS
V1 | case6 | pHigh | EPS
V1 | case7 | pLow | 156.8846
V1 | case7 | pHigh | EPS
V1 | case8 | pLow | 141.1962
V1 | case8 | pHigh | EPS
V1 | case9 | pLow | 117.6635
V1 | case9 | pHigh | EPS
V1 | case10 | pLow | 78.4423
V1 | case10 | pHigh | EPS
V1 | case11 | pLow | 39.2212
V1 | case11 | pHigh | EPS
V1 | case12 | pLow | EPS
V1 | case12 | pHigh | EPS
V2 | case1 | pLow | EPS
V2 | case1 | pHigh | 112.5477
V2 | case2 | pLow | 142.5604
V2 | case2 | pHigh | EPS
V2 | case3 | pLow | 157.5667
V2 | case3 | pHigh | EPS
V2 | case4 | pLow | 165.0699
V2 | case4 | pHigh | EPS
V2 | case5 | pLow | 172.5731
V2 | case5 | pHigh | EPS
V2 | case6 | pLow | 164.7288
V2 | case6 | pHigh | EPS
V2 | case7 | pLow | 156.8846
V2 | case7 | pHigh | EPS
V2 | case8 | pLow | 141.1962
V2 | case8 | pHigh | EPS
V2 | case9 | pLow | 117.6635
V2 | case9 | pHigh | EPS
V2 | case10 | pLow | 78.4423
V2 | case10 | pHigh | EPS
V2 | case11 | pLow | 39.2212
V2 | case11 | pHigh | EPS
V2 | case12 | pLow | EPS
V2 | case12 | pHigh | EPS
V3 | case1 | pLow | EPS
V3 | case1 | pHigh | 112.5477
V3 | case2 | pLow | 142.5604
V3 | case2 | pHigh | EPS
V3 | case3 | pLow | 157.5667
V3 | case3 | pHigh | EPS
V3 | case4 | pLow | 165.0699
V3 | case4 | pHigh | EPS
V3 | case5 | pLow | 172.5731
V3 | case5 | pHigh | EPS
V3 | case6 | pLow | 164.7288
V3 | case6 | pHigh | EPS
V3 | case7 | pLow | 156.8846
V3 | case7 | pHigh | EPS
V3 | case8 | pLow | 141.1962
V3 | case8 | pHigh | EPS
V3 | case9 | pLow | 117.6635
V3 | case9 | pHigh | EPS
V3 | case10 | pLow | 78.4423
V3 | case10 | pHigh | EPS
V3 | case11 | pLow | 39.2212
V3 | case11 | pHigh | EPS
V3 | case12 | pLow | EPS
V3 | case12 | pHigh | EPS
V4 | case1 | pLow | EPS
V4 | case1 | pHigh | 112.5477
V4 | case2 | pLow | 142.5604
V4 | case2 | pHigh | EPS
V4 | case3 | pLow | 157.5667
V4 | case3 | pHigh | EPS
V4 | case4 | pLow | 165.0699
V4 | case4 | pHigh | EPS
V4 | case5 | pLow | 172.5731
V4 | case5 | pHigh | EPS
V4 | case6 | pLow | 164.7288
V4 | case6 | pHigh | EPS
V4 | case7 | pLow | 156.8846
V4 | case7 | pHigh | EPS
V4 | case8 | pLow | 141.1962
V4 | case8 | pHigh | EPS
V4 | case9 | pLow | 117.6635
V4 | case9 | pHigh | EPS
V4 | case10 | pLow | 78.4423
V4 | case10 | pHigh | EPS
V4 | case11 | pLow | 39.2212
V4 | case11 | pHigh | EPS
V4 | case12 | pLow | EPS
V4 | case12 | pHigh | EPS
V5 | case1 | pLow | EPS
V5 | case1 | pHigh | 112.5477
V5 | case2 | pLow | 142.5604
V5 | case2 | pHigh | EPS
V5 | case3 | pLow | 157.5667
V5 | case3 | pHigh | EPS
V5 | case4 | pLow | 165.0699
V5 | case4 | pHigh | EPS
V5 | case5 | pLow | 172.5731
V5 | case5 | pHigh | EPS
V5 | case6 | pLow | 164.7288
V5 | case6 | pHigh | EPS
V5 | case7 | pLow | 156.8846
V5 | case7 | pHigh | EPS
V5 | case8 | pLow | 141.1962
V5 | case8 | pHigh | EPS
V5 | case9 | pLow | 117.6635
V5 | case9 | pHigh | EPS
V5 | case10 | pLow | 78.4423
V5 | case10 | pHigh | EPS
V5 | case11 | pLow | 39.2212
V5 | case11 | pHigh | EPS
V5 | case12 | pLow | EPS
V5 | case12 | pHigh | EPS

## ModelResults
TOC
ModelResults | (parameter) | Model Results for the scenarios
tot_vol | case | modpar | Value
V1 | case1 | ModStat | 1
V1 | case1 | SolStat | 1
V1 | case2 | ModStat | 1
V1 | case2 | SolStat | 1
V1 | case3 | ModStat | 1
V1 | case3 | SolStat | 1
V1 | case4 | ModStat | 1
V1 | case4 | SolStat | 1
V1 | case5 | ModStat | 1
V1 | case5 | SolStat | 1
V1 | case6 | ModStat | 1
V1 | case6 | SolStat | 1
V1 | case7 | ModStat | 1
V1 | case7 | SolStat | 1
V1 | case8 | ModStat | 1
V1 | case8 | SolStat | 1
V1 | case9 | ModStat | 1
V1 | case9 | SolStat | 1
V1 | case10 | ModStat | 1
V1 | case10 | SolStat | 1
V1 | case11 | ModStat | 1
V1 | case11 | SolStat | 1
V1 | case12 | ModStat | 1
V1 | case12 | SolStat | 1
V2 | case1 | ModStat | 1
V2 | case1 | SolStat | 1
V2 | case2 | ModStat | 1
V2 | case2 | SolStat | 1
V2 | case3 | ModStat | 1
V2 | case3 | SolStat | 1
V2 | case4 | ModStat | 1
V2 | case4 | SolStat | 1
V2 | case5 | ModStat | 1
V2 | case5 | SolStat | 1
V2 | case6 | ModStat | 1
V2 | case6 | SolStat | 1
V2 | case7 | ModStat | 1
V2 | case7 | SolStat | 1
V2 | case8 | ModStat | 1
V2 | case8 | SolStat | 1
V2 | case9 | ModStat | 1
V2 | case9 | SolStat | 1
V2 | case10 | ModStat | 1
V2 | case10 | SolStat | 1
V2 | case11 | ModStat | 1
V2 | case11 | SolStat | 1
V2 | case12 | ModStat | 1
V2 | case12 | SolStat | 1
V3 | case1 | ModStat | 1
V3 | case1 | SolStat | 1
V3 | case2 | ModStat | 1
V3 | case2 | SolStat | 1
V3 | case3 | ModStat | 1
V3 | case3 | SolStat | 1
V3 | case4 | ModStat | 1
V3 | case4 | SolStat | 1
V3 | case5 | ModStat | 1
V3 | case5 | SolStat | 1
V3 | case6 | ModStat | 1
V3 | case6 | SolStat | 1
V3 | case7 | ModStat | 1
V3 | case7 | SolStat | 1
V3 | case8 | ModStat | 1
V3 | case8 | SolStat | 1
V3 | case9 | ModStat | 1
V3 | case9 | SolStat | 1
V3 | case10 | ModStat | 1
V3 | case10 | SolStat | 1
V3 | case11 | ModStat | 1
V3 | case11 | SolStat | 1
V3 | case12 | ModStat | 1
V3 | case12 | SolStat | 1
V4 | case1 | ModStat | 1
V4 | case1 | SolStat | 1
V4 | case2 | ModStat | 1
V4 | case2 | SolStat | 1
V4 | case3 | ModStat | 1
V4 | case3 | SolStat | 1
V4 | case4 | ModStat | 1
V4 | case4 | SolStat | 1
V4 | case5 | ModStat | 1
V4 | case5 | SolStat | 1
V4 | case6 | ModStat | 1
V4 | case6 | SolStat | 1
V4 | case7 | ModStat | 1
V4 | case7 | SolStat | 1
V4 | case8 | ModStat | 1
V4 | case8 | SolStat | 1
V4 | case9 | ModStat | 1
V4 | case9 | SolStat | 1
V4 | case10 | ModStat | 1
V4 | case10 | SolStat | 1
V4 | case11 | ModStat | 1
V4 | case11 | SolStat | 1
V4 | case12 | ModStat | 1
V4 | case12 | SolStat | 1
V5 | case1 | ModStat | 1
V5 | case1 | SolStat | 1
V5 | case2 | ModStat | 1
V5 | case2 | SolStat | 1
V5 | case3 | ModStat | 1
V5 | case3 | SolStat | 1
V5 | case4 | ModStat | 1
V5 | case4 | SolStat | 1
V5 | case5 | ModStat | 1
V5 | case5 | SolStat | 1
V5 | case6 | ModStat | 1
V5 | case6 | SolStat | 1
V5 | case7 | ModStat | 1
V5 | case7 | SolStat | 1
V5 | case8 | ModStat | 1
V5 | case8 | SolStat | 1
V5 | case9 | ModStat | 1
V5 | case9 | SolStat | 1
V5 | case10 | ModStat | 1
V5 | case10 | SolStat | 1
V5 | case11 | ModStat | 1
V5 | case11 | SolStat | 1
V5 | case12 | ModStat | 1
V5 | case12 | SolStat | 1

## modpar
TOC
modpar | (set) | Saving model parameter for each of the solutions for each of the scenario
dim1
ModStat | Model Statistics
SolStat | Solve Statistics

## Num_steady
TOC
Num_steady | (parameter) | Number of steady low flow days
case | Value
case2 | 4
case3 | 6
case4 | 7
case5 | 8
case6 | 9
case7 | 10
case8 | 12
case9 | 15
case10 | 20
case11 | 25
case12 | 30

## p
TOC
p | (set) | time period during a day
dim1
pLow | Low flow period
pHigh | High flow period

## RStore_steady
TOC
RStore_steady | (parameter) | Store Release values during steady flow days over different cases(cfs)
tot_vol | case | p | Value
V1 | case1 | pLow | EPS
V1 | case1 | pHigh | EPS
V1 | case2 | pLow | 8000
V1 | case2 | pHigh | 8000
V1 | case3 | pLow | 8000
V1 | case3 | pHigh | 8000
V1 | case4 | pLow | 8000
V1 | case4 | pHigh | 8000
V1 | case5 | pLow | 8000
V1 | case5 | pHigh | 8000
V1 | case6 | pLow | 8000
V1 | case6 | pHigh | 8000
V1 | case7 | pLow | 8157.9652
V1 | case7 | pHigh | 8157.9652
V1 | case8 | pLow | 8513.5207
V1 | case8 | pHigh | 8513.5207
V1 | case9 | pLow | 9046.8541
V1 | case9 | pHigh | 9046.8541
V1 | case10 | pLow | 9935.743
V1 | case10 | pHigh | 9935.743
V1 | case11 | pLow | 10824.6319
V1 | case11 | pHigh | 10824.6319
V1 | case12 | pLow | 11713.5207
V1 | case12 | pHigh | 11713.5207
V2 | case1 | pLow | EPS
V2 | case1 | pHigh | EPS
V2 | case2 | pLow | 8764.6586
V2 | case2 | pHigh | 8764.6586
V2 | case3 | pLow | 9120.2142
V2 | case3 | pHigh | 9120.2142
V2 | case4 | pLow | 9297.992
V2 | case4 | pHigh | 9297.992
V2 | case5 | pLow | 9475.7697
V2 | case5 | pHigh | 9475.7697
V2 | case6 | pLow | 9653.5475
V2 | case6 | pHigh | 9653.5475
V2 | case7 | pLow | 9831.3253
V2 | case7 | pHigh | 9831.3253
V2 | case8 | pLow | 10186.8809
V2 | case8 | pHigh | 10186.8809
V2 | case9 | pLow | 10720.2142
V2 | case9 | pHigh | 10720.2142
V2 | case10 | pLow | 11609.1031
V2 | case10 | pHigh | 11609.1031
V2 | case11 | pLow | 12497.992
V2 | case11 | pHigh | 12497.992
V2 | case12 | pLow | 13386.8809
V2 | case12 | pHigh | 13386.8809
V3 | case1 | pLow | EPS
V3 | case1 | pHigh | EPS
V3 | case2 | pLow | 10438.0187
V3 | case2 | pHigh | 10438.0187
V3 | case3 | pLow | 10793.5743
V3 | case3 | pHigh | 10793.5743
V3 | case4 | pLow | 10971.3521
V3 | case4 | pHigh | 10971.3521
V3 | case5 | pLow | 11149.1299
V3 | case5 | pHigh | 11149.1299
V3 | case6 | pLow | 11326.9076
V3 | case6 | pHigh | 11326.9076
V3 | case7 | pLow | 11504.6854
V3 | case7 | pHigh | 11504.6854
V3 | case8 | pLow | 11860.241
V3 | case8 | pHigh | 11860.241
V3 | case9 | pLow | 12393.5743
V3 | case9 | pHigh | 12393.5743
V3 | case10 | pLow | 13282.4632
V3 | case10 | pHigh | 13282.4632
V3 | case11 | pLow | 14171.3521
V3 | case11 | pHigh | 14171.3521
V3 | case12 | pLow | 15060.241
V3 | case12 | pHigh | 15060.241
V4 | case1 | pLow | EPS
V4 | case1 | pHigh | EPS
V4 | case2 | pLow | 12111.3788
V4 | case2 | pHigh | 12111.3788
V4 | case3 | pLow | 12466.9344
V4 | case3 | pHigh | 12466.9344
V4 | case4 | pLow | 12644.7122
V4 | case4 | pHigh | 12644.7122
V4 | case5 | pLow | 12822.49
V4 | case5 | pHigh | 12822.49
V4 | case6 | pLow | 13000.2677
V4 | case6 | pHigh | 13000.2677
V4 | case7 | pLow | 13178.0455
V4 | case7 | pHigh | 13178.0455
V4 | case8 | pLow | 13533.6011
V4 | case8 | pHigh | 13533.6011
V4 | case9 | pLow | 14066.9344
V4 | case9 | pHigh | 14066.9344
V4 | case10 | pLow | 14955.8233
V4 | case10 | pHigh | 14955.8233
V4 | case11 | pLow | 15844.7122
V4 | case11 | pHigh | 15844.7122
V4 | case12 | pLow | 16733.6011
V4 | case12 | pHigh | 16733.6011
V5 | case1 | pLow | EPS
V5 | case1 | pHigh | EPS
V5 | case2 | pLow | 13784.739
V5 | case2 | pHigh | 13784.739
V5 | case3 | pLow | 14140.2945
V5 | case3 | pHigh | 14140.2945
V5 | case4 | pLow | 14318.0723
V5 | case4 | pHigh | 14318.0723
V5 | case5 | pLow | 14495.8501
V5 | case5 | pHigh | 14495.8501
V5 | case6 | pLow | 14673.6278
V5 | case6 | pHigh | 14673.6278
V5 | case7 | pLow | 14851.4056
V5 | case7 | pHigh | 14851.4056
V5 | case8 | pLow | 15206.9612
V5 | case8 | pHigh | 15206.9612
V5 | case9 | pLow | 15740.2945
V5 | case9 | pHigh | 15740.2945
V5 | case10 | pLow | 16629.1834
V5 | case10 | pHigh | 16629.1834
V5 | case11 | pLow | 17518.0723
V5 | case11 | pHigh | 17518.0723
V5 | case12 | pLow | 18406.9612
V5 | case12 | pHigh | 18406.9612

## RStore_unsteady
TOC |  |  |  |  | Note: Here, we have selected releases from V2 volume scenairo just as an example. To plot results of any other volume or number of steady low flow days scenario, Please change the highlighted release cells. Also the column names should be changed if different number of steady days scenarios are selected.
RStore_unsteady | (parameter) | Store Release values during unsteady flow days over different cases(cfs) |  |  | Case | Number of steady low days | pLow (cfs) | pHigh (cfs)
tot_vol | case | p | Value |  | case1 | 0 | 8053.5475 | 16053.5475
V1 | case1 | pLow | 8000 |  | case5 | 8 | 9475.7697 | 17475.7697
V1 | case1 | pHigh | 13570.2811 |  | case9 | 15 | 10720.2142 | 18720.2142
V1 | case2 | pLow | 8000 |  | case12 | 30 | 13386.8809 | 13386.8809
V1 | case2 | pHigh | 14427.2475
V1 | case3 | pLow | 8000 | Time (MST) | Zero steady low flow days | Eight steady low flow days | 15 steady low flow days | 30 steady low flow days
V1 | case3 | pHigh | 14962.8514 | 2018-06-01 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V1 | case4 | pLow | 8000 | 2018-06-01 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V1 | case4 | pHigh | 15265.5841 | 2018-06-01 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V1 | case5 | pLow | 8000 | 2018-06-02 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V1 | case5 | pHigh | 15595.8379 | 2018-06-02 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V1 | case6 | pLow | 8000 | 2018-06-02 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V1 | case6 | pHigh | 15957.5445 | 2018-06-02 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V1 | case7 | pLow | 8157.9652 | 2018-06-03 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V1 | case7 | pHigh | 16157.9652 | 2018-06-03 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V1 | case8 | pLow | 8513.5207 | 2018-06-03 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V1 | case8 | pHigh | 16513.5207 | 2018-06-03 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V1 | case9 | pLow | 9046.8541 | 2018-06-04 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V1 | case9 | pHigh | 17046.8541 | 2018-06-04 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V1 | case10 | pLow | 9935.743 | 2018-06-04 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V1 | case10 | pHigh | 17935.743 | 2018-06-04 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V1 | case11 | pLow | 10824.6319 | 2018-06-05 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V1 | case11 | pHigh | 18824.6319 | 2018-06-05 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V1 | case12 | pLow | EPS | 2018-06-05 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V1 | case12 | pHigh | EPS | 2018-06-05 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V2 | case1 | pLow | 8053.5475 | 2018-06-06 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V2 | case1 | pHigh | 16053.5475 | 2018-06-06 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case2 | pLow | 8764.6586 | 2018-06-06 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case2 | pHigh | 16764.6586 | 2018-06-06 08:00 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case3 | pLow | 9120.2142 | 2018-06-07 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case3 | pHigh | 17120.2142 | 2018-06-07 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case4 | pLow | 9297.992 | 2018-06-07 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case4 | pHigh | 17297.992 | 2018-06-07 08:00 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case5 | pLow | 9475.7697 | 2018-06-08 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case5 | pHigh | 17475.7697 | 2018-06-08 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case6 | pLow | 9653.5475 | 2018-06-08 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case6 | pHigh | 17653.5475 | 2018-06-08 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V2 | case7 | pLow | 9831.3253 | 2018-06-09 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V2 | case7 | pHigh | 17831.3253 | 2018-06-09 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case8 | pLow | 10186.8809 | 2018-06-09 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case8 | pHigh | 18186.8809 | 2018-06-09 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V2 | case9 | pLow | 10720.2142 | 2018-06-10 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V2 | case9 | pHigh | 18720.2142 | 2018-06-10 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case10 | pLow | 11609.1031 | 2018-06-10 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case10 | pHigh | 19609.1031 | 2018-06-10 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V2 | case11 | pLow | 12497.992 | 2018-06-11 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V2 | case11 | pHigh | 20497.992 | 2018-06-11 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case12 | pLow | EPS | 2018-06-11 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V2 | case12 | pHigh | EPS | 2018-06-11 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V3 | case1 | pLow | 9726.9076 | 2018-06-12 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V3 | case1 | pHigh | 17726.9076 | 2018-06-12 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case2 | pLow | 10438.0187 | 2018-06-12 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case2 | pHigh | 18438.0187 | 2018-06-12 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V3 | case3 | pLow | 10793.5743 | 2018-06-13 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V3 | case3 | pHigh | 18793.5743 | 2018-06-13 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case4 | pLow | 10971.3521 | 2018-06-13 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case4 | pHigh | 18971.3521 | 2018-06-13 08:00 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case5 | pLow | 11149.1299 | 2018-06-14 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case5 | pHigh | 19149.1299 | 2018-06-14 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case6 | pLow | 11326.9076 | 2018-06-14 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case6 | pHigh | 19326.9076 | 2018-06-14 08:00 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case7 | pLow | 11504.6854 | 2018-06-15 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case7 | pHigh | 19504.6854 | 2018-06-15 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case8 | pLow | 11860.241 | 2018-06-15 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case8 | pHigh | 19860.241 | 2018-06-15 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V3 | case9 | pLow | 12393.5743 | 2018-06-16 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V3 | case9 | pHigh | 20393.5743 | 2018-06-16 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case10 | pLow | 13282.4632 | 2018-06-16 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case10 | pHigh | 21282.4632 | 2018-06-16 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V3 | case11 | pLow | 14171.3521 | 2018-06-17 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V3 | case11 | pHigh | 22171.3521 | 2018-06-17 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case12 | pLow | EPS | 2018-06-17 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V3 | case12 | pHigh | EPS | 2018-06-17 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V4 | case1 | pLow | 11400.2677 | 2018-06-18 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V4 | case1 | pHigh | 19400.2677 | 2018-06-18 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case2 | pLow | 12111.3788 | 2018-06-18 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case2 | pHigh | 20111.3788 | 2018-06-18 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V4 | case3 | pLow | 12466.9344 | 2018-06-19 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V4 | case3 | pHigh | 20466.9344 | 2018-06-19 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case4 | pLow | 12644.7122 | 2018-06-19 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case4 | pHigh | 20644.7122 | 2018-06-19 08:00 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V4 | case5 | pLow | 12822.49 | 2018-06-20 | 16053.5475 | 17475.7697 | 18720.2142 | 13386.8809
V4 | case5 | pHigh | 20822.49 | 2018-06-20 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case6 | pLow | 13000.2677 | 2018-06-20 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case6 | pHigh | 21000.2677 | 2018-06-20 08:00 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case7 | pLow | 13178.0455 | 2018-06-21 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case7 | pHigh | 21178.0455 | 2018-06-21 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case8 | pLow | 13533.6011 | 2018-06-21 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case8 | pHigh | 21533.6011 | 2018-06-21 08:00 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case9 | pLow | 14066.9344 | 2018-06-22 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case9 | pHigh | 22066.9344 | 2018-06-22 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case10 | pLow | 14955.8233 | 2018-06-22 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case10 | pHigh | 22955.8233 | 2018-06-22 08:00 | 16053.5475 | 17475.7697 | 10720.2142 | 13386.8809
V4 | case11 | pLow | 15844.7122 | 2018-06-23 | 16053.5475 | 17475.7697 | 10720.2142 | 13386.8809
V4 | case11 | pHigh | 23844.7122 | 2018-06-23 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case12 | pLow | EPS | 2018-06-23 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V4 | case12 | pHigh | EPS | 2018-06-23 08:00 | 16053.5475 | 17475.7697 | 10720.2142 | 13386.8809
V5 | case1 | pLow | 13073.6278 | 2018-06-24 | 16053.5475 | 17475.7697 | 10720.2142 | 13386.8809
V5 | case1 | pHigh | 21073.6278 | 2018-06-24 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case2 | pLow | 13784.739 | 2018-06-24 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case2 | pHigh | 21784.739 | 2018-06-24 08:00 | 16053.5475 | 17475.7697 | 10720.2142 | 13386.8809
V5 | case3 | pLow | 14140.2945 | 2018-06-25 | 16053.5475 | 17475.7697 | 10720.2142 | 13386.8809
V5 | case3 | pHigh | 22140.2945 | 2018-06-25 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case4 | pLow | 14318.0723 | 2018-06-25 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case4 | pHigh | 22318.0723 | 2018-06-25 08:00 | 16053.5475 | 17475.7697 | 10720.2142 | 13386.8809
V5 | case5 | pLow | 14495.8501 | 2018-06-26 | 16053.5475 | 17475.7697 | 10720.2142 | 13386.8809
V5 | case5 | pHigh | 22495.8501 | 2018-06-26 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case6 | pLow | 14673.6278 | 2018-06-26 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case6 | pHigh | 22673.6278 | 2018-06-26 08:00 | 16053.5475 | 17475.7697 | 10720.2142 | 13386.8809
V5 | case7 | pLow | 14851.4056 | 2018-06-27 | 16053.5475 | 17475.7697 | 10720.2142 | 13386.8809
V5 | case7 | pHigh | 22851.4056 | 2018-06-27 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case8 | pLow | 15206.9612 | 2018-06-27 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case8 | pHigh | 23206.9612 | 2018-06-27 08:00 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case9 | pLow | 15740.2945 | 2018-06-28 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case9 | pHigh | 23740.2945 | 2018-06-28 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case10 | pLow | 16629.1834 | 2018-06-28 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case10 | pHigh | 24629.1834 | 2018-06-28 08:00 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case11 | pLow | 17518.0723 | 2018-06-29 | 16053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case11 | pHigh | 25518.0723 | 2018-06-29 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case12 | pLow | EPS | 2018-06-29 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
V5 | case12 | pHigh | EPS | 2018-06-29 08:00 | 16053.5475 | 17475.7697 | 10720.2142 | 13386.8809
|  |  |  | 2018-06-30 | 16053.5475 | 17475.7697 | 10720.2142 | 13386.8809
|  |  |  | 2018-06-30 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
|  |  |  | 2018-06-30 08:00 | 8053.5475 | 9475.7697 | 10720.2142 | 13386.8809
|  |  |  | 2018-06-30 08:00 | 16053.5475 | 17475.7697 | 10720.2142 | 13386.8809
|  |  |  | 2018-07-01 | 16053.5475 | 17475.7697 | 10720.2142 | 13386.8809
d1
d2
d6
d5
d4
d3
d8
d7
d9
d10
d14
d13
d15
d11
d12
d16
d20
d19
d21
d17
d18
d22
d26
d25
d27
d23
d24
d28
d29
d30
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh
pLow
pHigh

## Sstore
TOC
Sstore | (parameter) | Store Storage Values over different cases(ac-ft)
tot_vol | case | Value
V1 | case1 | 12791578.776
V1 | case2 | 12791578.776
V1 | case3 | 12791578.776
V1 | case4 | 12791578.776
V1 | case5 | 12791578.776
V1 | case6 | 12791578.776
V1 | case7 | 12791578.776
V1 | case8 | 12791578.776
V1 | case9 | 12791578.776
V1 | case10 | 12791578.776
V1 | case11 | 12791578.776
V1 | case12 | 12791578.776
V2 | case1 | 12691578.776
V2 | case2 | 12691578.776
V2 | case3 | 12691578.776
V2 | case4 | 12691578.776
V2 | case5 | 12691578.776
V2 | case6 | 12691578.776
V2 | case7 | 12691578.776
V2 | case8 | 12691578.776
V2 | case9 | 12691578.776
V2 | case10 | 12691578.776
V2 | case11 | 12691578.776
V2 | case12 | 12691578.776
V3 | case1 | 12591578.776
V3 | case2 | 12591578.776
V3 | case3 | 12591578.776
V3 | case4 | 12591578.776
V3 | case5 | 12591578.776
V3 | case6 | 12591578.776
V3 | case7 | 12591578.776
V3 | case8 | 12591578.776
V3 | case9 | 12591578.776
V3 | case10 | 12591578.776
V3 | case11 | 12591578.776
V3 | case12 | 12591578.776
V4 | case1 | 12491578.776
V4 | case2 | 12491578.776
V4 | case3 | 12491578.776
V4 | case4 | 12491578.776
V4 | case5 | 12491578.776
V4 | case6 | 12491578.776
V4 | case7 | 12491578.776
V4 | case8 | 12491578.776
V4 | case9 | 12491578.776
V4 | case10 | 12491578.776
V4 | case11 | 12491578.776
V4 | case12 | 12491578.776
V5 | case1 | 12391578.776
V5 | case2 | 12391578.776
V5 | case3 | 12391578.776
V5 | case4 | 12391578.776
V5 | case5 | 12391578.776
V5 | case6 | 12391578.776
V5 | case7 | 12391578.776
V5 | case8 | 12391578.776
V5 | case9 | 12391578.776
V5 | case10 | 12391578.776
V5 | case11 | 12391578.776
V5 | case12 | 12391578.776

## SteadyEn_Gen
TOC
SteadyEn_Gen | (variable) | Hydropower Generated for each timestep during steady flow days (MWH)
p | Lowerbound | Value | Upperbound | Marginal
pLow | -INF | 5470.5489 | INF | 0
pHigh | -INF | 10941.0977 | INF | 0

## tot_vol
TOC
tot_vol | (set) | Total montly release volume (acre-ft)
dim1
V1
V2
V3
V4
V5

## Vol_monthlyrelease
TOC
Vol_monthlyrelease | (parameter) | Different Total volumes of water to be released in the month i.e. June2018 in presented case (acre-ft)
tot_vol | Value
V1 | 700000
V2 | 800000
V3 | 900000
V4 | 1000000
V5 | 1100000

## weekendRate
TOC
weekendRate | (parameter) | Energy revenue on weekends ($ per MWH)
p | Value
pLow | 37.7
pHigh | 37.7

## XStore_steady
TOC
XStore_steady | (parameter) | Store Energy Generated during steady flow days over different cases (MWH)
tot_vol | case | Value
V1 | case2 | 28531.2
V1 | case3 | 42796.8
V1 | case4 | 49929.6
V1 | case5 | 57062.4
V1 | case6 | 64195.2
V1 | case7 | 72736.4177
V1 | case8 | 91087.8612
V1 | case9 | 120992.6265
V1 | case10 | 177174.1687
V1 | case11 | 241281.0442
V1 | case12 | 313313.253
V2 | case2 | 31258.2786
V2 | case3 | 48789.4978
V2 | case4 | 58030.6275
V2 | case5 | 67588.7704
V2 | case6 | 77463.9267
V2 | case7 | 87656.0964
V2 | case8 | 108991.4757
V2 | case9 | 143372.1446
V2 | case10 | 207013.5261
V2 | case11 | 278580.241
V2 | case12 | 358072.2892
V3 | case2 | 37226.15
V3 | case3 | 57741.3051
V3 | case4 | 68474.4026
V3 | case5 | 79524.5134
V3 | case6 | 90891.6376
V3 | case7 | 102575.7751
V3 | case8 | 126895.0901
V3 | case9 | 165751.6627
V3 | case10 | 236852.8835
V3 | case11 | 315879.4378
V3 | case12 | 402831.3253
V4 | case2 | 43194.0215
V4 | case3 | 66693.1123
V4 | case4 | 78918.1777
V4 | case5 | 91460.2564
V4 | case6 | 104319.3484
V4 | case7 | 117495.4538
V4 | case8 | 144798.7046
V4 | case9 | 188131.1807
V4 | case10 | 266692.241
V4 | case11 | 353178.6345
V4 | case12 | 447590.3614
V5 | case2 | 49161.893
V5 | case3 | 75644.9195
V5 | case4 | 89361.9528
V5 | case5 | 103395.9994
V5 | case6 | 117747.0593
V5 | case7 | 132415.1325
V5 | case8 | 162702.319
V5 | case9 | 210510.6988
V5 | case10 | 296531.5984
V5 | case11 | 390477.8313
V5 | case12 | 492349.3976

## XStore_unsteady
TOC
XStore_unsteady | (parameter) | Store Energy Generated during unsteady flow days over different cases (MWH)
tot_vol | case | Value
V1 | case1 | 313313.253
V1 | case2 | 284782.053
V1 | case3 | 270516.453
V1 | case4 | 263383.653
V1 | case5 | 256250.853
V1 | case6 | 249118.053
V1 | case7 | 240576.8353
V1 | case8 | 222225.3918
V1 | case9 | 192320.6265
V1 | case10 | 136139.0843
V1 | case11 | 72032.2088
V2 | case1 | 358072.2892
V2 | case2 | 326814.0106
V2 | case3 | 309282.7913
V2 | case4 | 300041.6617
V2 | case5 | 290483.5187
V2 | case6 | 280608.3624
V2 | case7 | 270416.1928
V2 | case8 | 249080.8135
V2 | case9 | 214700.1446
V2 | case10 | 151058.7631
V2 | case11 | 79492.0482
V3 | case1 | 402831.3253
V3 | case2 | 365605.1753
V3 | case3 | 345090.0202
V3 | case4 | 334356.9227
V3 | case5 | 323306.8119
V3 | case6 | 311939.6877
V3 | case7 | 300255.5502
V3 | case8 | 275936.2352
V3 | case9 | 237079.6627
V3 | case10 | 165978.4418
V3 | case11 | 86951.8876
V4 | case1 | 447590.3614
V4 | case2 | 404396.3399
V4 | case3 | 380897.2492
V4 | case4 | 368672.1838
V4 | case5 | 356130.1051
V4 | case6 | 343271.013
V4 | case7 | 330094.9076
V4 | case8 | 302791.6569
V4 | case9 | 259459.1807
V4 | case10 | 180898.1205
V4 | case11 | 94411.7269
V5 | case1 | 492349.3976
V5 | case2 | 443187.5046
V5 | case3 | 416704.4781
V5 | case4 | 402987.4448
V5 | case5 | 388953.3982
V5 | case6 | 374602.3383
V5 | case7 | 359934.2651
V5 | case8 | 329647.0786
V5 | case9 | 281838.6988
V5 | case10 | 195817.7992
V5 | case11 | 101871.5663